## Introduction
Potomac Edison Quarterly Electric Vehicle Charging Station Reliability and Reporting Standards
Q3-2025
INTRODUCTION
The Potomac Edison Company (“PE” or the “Company”) hereby submits to the Maryland Public Service Commission (the “Commission”) its quarterly report (“Report”) in accordance with Commission Order No. 91222 issued on July 15, 2024, in the above-captioned matter. Through this filing, PE provides the Commission with information regarding station reliability from July 1, 2025 through Septemeber 30, 2025 (“Current Reporting Period”) for the electric vehicle (“EV”) charging station reliability reporting standards approved by the Commission in Order No. 91222.
CHARGING STATION RELIABILITY RESULTS
On the following tabs, PE reports the following EV charging station reliability metrics for the Current Reporting Period:
Stations
Sessions
DER Capacity
Preventative Maintenance
Station Repairs
Uptime
Maintenance and Repair Costs
Cost of Electricity
Other Costs
Customer Complaints
Network Disconnection Events
Definitions
Categories
CONCLUSION
PE thanks the Commission for the opportunity to provide this Report covering Q3 2025 EV charger reliability results and would be pleased to answer any questions the Commission or its Staff may have.
Respectfully submitted,
THE POTOMAC EDISON COMPANY
___________________________________
Jessica Raba
Corporate Counsel
10802 Bower Avenue
Williamsport, MD 21795
Phone: 610-816-9303
mailto:jraba@firstenergycorp.com

## Stations
Q3 2025 PE's EV Charging Stations
Station ID | Station Name | Port Identifier | Address | City | State | Postal Code
1:5448261 | POTOMAC EDISON / ALLEGANY COLLEG | 1 | 12401 Willowbrook Rd | Cumberland | Maryland | 21502
1:5448261 | POTOMAC EDISON / ALLEGANY COLLEG | 2 | 12401 Willowbrook Rd | Cumberland | Maryland | 21502
1:13864761 | POTOMAC EDISON / BEAR DEN MUD | 1 | 2250 Bear Den Rd | Frederick | Maryland | 21701
1:13864761 | POTOMAC EDISON / BEAR DEN MUD | 2 | 2250 Bear Den Rd | Frederick | Maryland | 21701
1:15296511 | POTOMAC EDISON / BIG POOL | 2 | Western Maryland Rail Trail | Big Pool | Maryland | 21711
1:15296511 | POTOMAC EDISON / BIG POOL | 1 | Western Maryland Rail Trail | Big Pool | Maryland | 21711
1:5523371 | POTOMAC EDISON / BOONSBORO | 2 | 15 N Main St | Boonsboro | Maryland | 21713
1:5523371 | POTOMAC EDISON / BOONSBORO | 1 | 15 N Main St | Boonsboro | Maryland | 21713
1:14008831 | POTOMAC EDISON / BRUNSWICK | 2 | 20 W Potomac St | Brunswick | Maryland | 21716
1:14008831 | POTOMAC EDISON / BRUNSWICK | 1 | 20 W Potomac St | Brunswick | Maryland | 21716
1:13803821 | POTOMAC EDISON / CANAL PLACE DC1 | 1 | 13 Canal St | Cumberland | Maryland | 21502
1:13804061 | POTOMAC EDISON / CANAL PLACE DC2 | 1 | 13 Canal St | Cumberland | Maryland | 21502
1:13803451 | POTOMAC EDISON / CANAL PLACE L2 | 1 | 13 Canal St | Cumberland | Maryland | 21502
1:13803451 | POTOMAC EDISON / CANAL PLACE L2 | 2 | 13 Canal St | Cumberland | Maryland | 21502
1:13383111 | POTOMAC EDISON / CATOCTIN FURNAC | 1 | 12698 Catoctin Furnace Rd | Thurmont | Maryland | 21788
1:13383111 | POTOMAC EDISON / CATOCTIN FURNAC | 2 | 12698 Catoctin Furnace Rd | Thurmont | Maryland | 21788
1:13172721 | POTOMAC EDISON / CLEAR SPRING | 1 | 122 National Pike | Clear Spring | Maryland | 21722
1:13172721 | POTOMAC EDISON / CLEAR SPRING | 2 | 122 National Pike | Clear Spring | Maryland | 21722
1:5581881 | POTOMAC EDISON / CUMBERLAND | 1 | 40 N Liberty St | Cumberland | Maryland | 21502
1:5581881 | POTOMAC EDISON / CUMBERLAND | 2 | 40 N Liberty St | Cumberland | Maryland | 21502
1:5580311 | POTOMAC EDISON / DEEP CREEK DC1 | 1 | 5 Vacation Way | McHenry | Maryland | 21541
1:5580321 | POTOMAC EDISON / DEEP CREEK DC2 | 1 | 2 Vacation Way | McHenry | Maryland | 21541
1:5571081 | POTOMAC EDISON / DEEP CREEK L2 | 1 | 2 Vacation Way | McHenry | Maryland | 21541
1:12403611 | POTOMAC EDISON / FRIENDSVILLE L2 | 2 | 510 Church Ln | Friendsville | Maryland | 21531
1:12403611 | POTOMAC EDISON / FRIENDSVILLE L2 | 1 | 510 Church Ln | Friendsville | Maryland | 21531
1:12403651 | POTOMAC EDISON / FRIENDSVILLEDC1 | 1 | 277 Maple St | Friendsville | Maryland | 21531
1:12403641 | POTOMAC EDISON / FRIENDSVILLEDC2 | 1 | 277 Maple St | Friendsville | Maryland | 21531
1:12008641 | POTOMAC EDISON / FROSTBURG DC 1 | 1 | 65 E Main St | Frostburg | Maryland | 21532
1:12009131 | POTOMAC EDISON / FROSTBURG DC 2 | 1 | 65 E Main St | Frostburg | Maryland | 21532
1:5437631 | POTOMAC EDISON / GARRETT COLLEGE | 2 | 687 Mosser Rd | McHenry | Maryland | 21541
1:5437631 | POTOMAC EDISON / GARRETT COLLEGE | 1 | 687 Mosser Rd | McHenry | Maryland | 21541
1:8172391 | POTOMAC EDISON / GRANTSVILLE | 1 | 171 Main St | Grantsville | Maryland | 21536
1:8172391 | POTOMAC EDISON / GRANTSVILLE | 2 | 171 Main St | Grantsville | Maryland | 21536
1:5605511 | POTOMAC EDISON / HAGERSTOWN CC | 1 | 20140 Student Circle | Hagerstown | Maryland | 21742
1:5605511 | POTOMAC EDISON / HAGERSTOWN CC | 2 | 20140 Student Circle | Hagerstown | Maryland | 21742
1:14219131 | POTOMAC EDISON / HAGERSTOWN CCN | 1 | 525 Northern Ave | Hagerstown | Maryland | 21742
1:14219131 | POTOMAC EDISON / HAGERSTOWN CCN | 2 | 525 Northern Ave | Hagerstown | Maryland | 21742
1:5584621 | POTOMAC EDISON / HANCOCK DC 1 | 1 | 159 W Main St | Hancock | Maryland | 21750
1:5584601 | POTOMAC EDISON / HANCOCK DC 2 | 1 | 159 MD-144 | Hancock | Maryland | 21750
1:5560961 | POTOMAC EDISON / HANCOCK LEVEL 2 | 2 | Williams St | Hancock | Maryland | 21750
1:5560961 | POTOMAC EDISON / HANCOCK LEVEL 2 | 1 | Williams St | Hancock | Maryland | 21750
1:5523631 | POTOMAC EDISON / KEEDYSVILLE | 1 | 22 Taylor Dr | Keedysville | Maryland | 21756
1:5523631 | POTOMAC EDISON / KEEDYSVILLE | 2 | 22 Taylor Dr | Keedysville | Maryland | 21756
1:15907581 | POTOMAC EDISON / LINTON MUD | 1 | 6501 Walcott Ln | Frederick | Maryland | 21703
1:15907581 | POTOMAC EDISON / LINTON MUD | 2 | 6501 Walcott Ln | Frederick | Maryland | 21703
1:12931911 | POTOMAC EDISON / LONACONING | 1 | 76 E Main St | Lonaconing | Maryland | 21539
1:12931911 | POTOMAC EDISON / LONACONING | 2 | 76 E Main St | Lonaconing | Maryland | 21539
1:2740071 | POTOMAC EDISON / MARC TRAIN | 2 | 155 B and O Ave | Frederick | Maryland | 21701
1:2740071 | POTOMAC EDISON / MARC TRAIN | 1 | 155 B and O Ave | Frederick | Maryland | 21701
1:14133821 | POTOMAC EDISON / MARKET STREET | 1 | 331 N Market St | Frederick | Maryland | 21701
1:14133821 | POTOMAC EDISON / MARKET STREET | 2 | 331 N Market St | Frederick | Maryland | 21701
1:15311591 | POTOMAC EDISON / MASON DIXON DC1 | 1 | 17300 Catoctin Mountain Highway | Emmitsburg | Maryland | 21727
1:15311571 | POTOMAC EDISON / MASON DIXON DC2 | 1 | 17300 Catoctin Mountain Highway | Emmitsburg | Maryland | 21727
1:15311021 | POTOMAC EDISON / MASON DIXON L2 | 1 | 17300 Catoctin Mountain Highway | Emmitsburg | Maryland | 21727
1:15311021 | POTOMAC EDISON / MASON DIXON L2 | 2 | 17300 Catoctin Mountain Highway | Emmitsburg | Maryland | 21727
1:13956671 | POTOMAC EDISON / MAX KEHNE DC1 | 1 | 1108 W 7th St | Frederick | Maryland | 21701
1:13956681 | POTOMAC EDISON / MAX KEHNE DC2 | 1 | 1108 W 7th St | Frederick | Maryland | 21701
1:13952081 | POTOMAC EDISON / MAX KEHNE L2 | 2 | 1108 W 7th St | Frederick | Maryland | 21701
1:13952081 | POTOMAC EDISON / MAX KEHNE L2 | 1 | 1108 W 7th St | Frederick | Maryland | 21701
1:2742081 | POTOMAC EDISON / MIDDLETOWN | 2 | 119 Washington St | Middletown | Maryland | 21769
1:2742081 | POTOMAC EDISON / MIDDLETOWN | 1 | 119 Washington St | Middletown | Maryland | 21769
1:15297511 | POTOMAC EDISON / MIDDLETOWN 2 | 1 | 31 W Main St | Middletown | Maryland | 21769
1:15297511 | POTOMAC EDISON / MIDDLETOWN 2 | 2 | 31 W Main St | Middletown | Maryland | 21769
1:13931921 | POTOMAC EDISON / MONOCACY MARC | 1 | 7800 Genstar Dr | Frederick | Maryland | 21704
1:13931921 | POTOMAC EDISON / MONOCACY MARC | 2 | 7800 Genstar Dr | Frederick | Maryland | 21704
1:13902071 | POTOMAC EDISON / MT AIRY DC1 | 1 | 509a E Ridgeville Blvd | Mount Airy | Maryland | 21771
1:13007541 | POTOMAC EDISON / MT AIRY DC2 | 1 | 509a E Ridgeville Blvd | Mount Airy | Maryland | 21771
1:12639661 | POTOMAC EDISON / MT AIRY LIBRARY | 2 | 705 Ridge Ave | Mount Airy | Maryland | 21771
1:12639661 | POTOMAC EDISON / MT AIRY LIBRARY | 1 | 705 Ridge Ave | Mount Airy | Maryland | 21771
1:13171741 | POTOMAC EDISON / MYERSVILLE DC 1 | 1 | 3002 Ventrie Ct | Myersville | Maryland | 21773
1:13171731 | POTOMAC EDISON / MYERSVILLE DC 2 | 1 | 3002 Ventrie Ct | Myersville | Maryland | 21773
1:13169151 | POTOMAC EDISON / MYERSVILLE L2 | 2 | 3002 Ventrie Ct | Myersville | Maryland | 21773
1:13169151 | POTOMAC EDISON / MYERSVILLE L2 | 1 | 3002 Ventrie Ct | Myersville | Maryland | 21773
1:12810661 | POTOMAC EDISON / MYERSVILLE TH | 1 | 307 Main St | Myersville | Maryland | 21773
1:12810661 | POTOMAC EDISON / MYERSVILLE TH | 2 | 307 Main St | Myersville | Maryland | 21773
1:2078741 | POTOMAC EDISON / NEW MARKET TH | 1 | 40 South Alley | New Market | Maryland | 21774
1:2078741 | POTOMAC EDISON / NEW MARKET TH | 2 | 40 South Alley | New Market | Maryland | 21774
1:5979231 | POTOMAC EDISON / NEW WINDSOR | 2 | 105 Green Valley Rd | New Windsor | Maryland | 21776
1:5979231 | POTOMAC EDISON / NEW WINDSOR | 1 | 105 Green Valley Rd | New Windsor | Maryland | 21776
1:5552771 | POTOMAC EDISON / OAKLAND | 1 | 108 E Oak St | Oakland | Maryland | 21550
1:5552771 | POTOMAC EDISON / OAKLAND | 2 | 108 E Oak St | Oakland | Maryland | 21550
1:2357631 | POTOMAC EDISON / PARISH HALL | 2 | 16 Uhl St | Frostburg | Maryland | 21532
1:2357631 | POTOMAC EDISON / PARISH HALL | 1 | 16 Uhl St | Frostburg | Maryland | 21532
1:13867381 | POTOMAC EDISON / POINT OF ROCKS | 1 | 3728 Clay St | Point of Rocks | Maryland | 21777
1:13867381 | POTOMAC EDISON / POINT OF ROCKS | 2 | 3728 Clay St | Point of Rocks | Maryland | 21777
1:14219591 | POTOMAC EDISON / POOLESVILLE GC | 1 | 16601 W Willard Rd | Poolesville | Maryland | 20837
1:14219591 | POTOMAC EDISON / POOLESVILLE GC | 2 | 16601 W Willard Rd | Poolesville | Maryland | 20837
1:14305141 | POTOMAC EDISON / RATTLEWOOD GC | 1 | 13501 Penn Shop Rd | Mount Airy | Maryland | 21771
1:14305141 | POTOMAC EDISON / RATTLEWOOD GC | 2 | 13501 Penn Shop Rd | Mount Airy | Maryland | 21771
1:13669771 | POTOMAC EDISON / ROCKY GAP DC1 | 1 | 16701 Lakeview Rd | Flinstone | Maryland | 21530
1:13669751 | POTOMAC EDISON / ROCKY GAP DC2 | 1 | 16701 Lakeview Rd | Flinstone | Maryland | 21530
1:15241921 | POTOMAC EDISON / SHAFER PARK | 1 | 37 Park Drive | Boonsboro | Maryland | 21713
1:15241921 | POTOMAC EDISON / SHAFER PARK | 2 | 37 Park Drive | Boonsboro | Maryland | 21713
1:11660801 | POTOMAC EDISON / SMITHSBURG | 1 | 63 Railroad Ln | Smithsburg | Maryland | 21783
1:11660801 | POTOMAC EDISON / SMITHSBURG | 2 | 63 Railroad Ln | Smithsburg | Maryland | 21783
1:6150701 | POTOMAC EDISON / TANEYTOWN CC | 1 | 502 E Baltimore St | Taneytown | Maryland | 21787
1:6150701 | POTOMAC EDISON / TANEYTOWN CC | 2 | 502 E Baltimore St | Taneytown | Maryland | 21787
1:13762091 | POTOMAC EDISON / TASKERS CHANCE | 2 | 1000 Key pkwy | Frederick | Maryland | 21702
1:13762091 | POTOMAC EDISON / TASKERS CHANCE | 1 | 1000 Key pkwy | Frederick | Maryland | 21702
1:13761651 | POTOMAC EDISON / THE GARDENS MUD | 1 | 19943 Ashfield Ct | Hagerstown | Maryland | 21742
1:13761651 | POTOMAC EDISON / THE GARDENS MUD | 2 | 19943 Ashfield Ct | Hagerstown | Maryland | 21742
1:12793041 | POTOMAC EDISON / WESTERNPORT | 2 | 47 Main St | Westernport | Maryland | 21562
1:12793041 | POTOMAC EDISON / WESTERNPORT | 1 | 47 Main St | Westernport | Maryland | 21562

## DER Capacity
Q3 2025 PE DER Used by Charging Station
Station ID | Station Name | kW or kWh used JULY 2025 | kW or kWh used AUGUST 2025 | kW or kWh used SEPTEMBER 2025
1:13171741 | POTOMAC EDISON / MYERSVILLE DC 1 | 2218.4 kWh | 2512.7 kWh | 1957.9 kWh
1:13171731 | POTOMAC EDISON / MYERSVILLE DC 2
1:13169151 | POTOMAC EDISON / MYERSVILLE L2

## Preventative Maintenance
Q3 2025 PE EV Charging Station Maintenance
Station ID | Station Name | Date of Maintenance | Duration of Maintenance Minutes
13931921 | POTOMAC EDISON / MONOCACY MARC | 2025-07-22 12:00 | 60
13762091 | POTOMAC EDISON / TASKERS CHANCE | 2025-07-22 13:30 | 60
14133821 | POTOMAC EDISON / MARKET STREET | 2025-07-22 16:00 | 60
13956671 | POTOMAC EDISON / MAX KEHNE DC1 | 2025-07-22 17:30 | 60
13956681 | POTOMAC EDISON / MAX KEHNE DC2 | 2025-07-22 17:30 | 60
13952081 | POTOMAC EDISON / MAX KEHNE L2 | 2025-07-22 17:30 | 60
2740071 | POTOMAC EDISON / MARC TRAIN | 2025-07-22 18:30 | 60
13864761 | POTOMAC EDISON / BEAR DEN MUD | 2025-07-22 20:00 | 60
15297511 | POTOMAC EDISON / MIDDLETOWN 2 | 2025-07-23 12:00 | 60
2742081 | POTOMAC EDISON / MIDDLETOWN | 2025-07-23 13:00 | 60
5523371 | POTOMAC EDISON / BOONSBORO | 2025-07-23 16:30 | 60
15241921 | POTOMAC EDISON / SHAFER PARK | 2025-07-23 17:30 | 60
5523631 | POTOMAC EDISON / KEEDYSVILLE | 2025-07-23 18:00 | 60
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-23 19:00 | 60
5605511 | POTOMAC EDISON / HAGERSTOWN CC | 2025-07-23 20:00 | 60
14219131 | POTOMAC EDISON / HAGERSTOWN CCN | 2025-07-23 21:00 | 60
13171741 | POTOMAC EDISON / MYERSVILLE DC 1 | 2025-07-23 22:30 | 60
13171731 | POTOMAC EDISON / MYERSVILLE DC 2 | 2025-07-23 22:30 | 60
13169151 | POTOMAC EDISON / MYERSVILLE L2 | 2025-07-23 22:30 | 60
12810661 | POTOMAC EDISON / MYERSVILLE TH | 2025-07-24 | 60
2078741 | POTOMAC EDISON / NEW MARKET TH | 2025-07-24 01:30 | 60
15311591 | POTOMAC EDISON / MASON DIXON DC1 | 2025-07-24 12:00 | 60
15311571 | POTOMAC EDISON / MASON DIXON DC2 | 2025-07-24 12:00 | 60
15311021 | POTOMAC EDISON / MASON DIXON L2 | 2025-07-24 12:00 | 60
6150701 | POTOMAC EDISON / TANEYTOWN CC | 2025-07-24 13:30 | 60
5979231 | POTOMAC EDISON / NEW WINDSOR | 2025-07-24 15:00 | 60
14305141 | POTOMAC EDISON / RATTLEWOOD GC | 2025-07-24 20:00 | 60
13902071 | POTOMAC EDISON / MT AIRY DC1 | 2025-07-24 22:00 | 60
13007541 | POTOMAC EDISON / MT AIRY DC2 | 2025-07-24 22:00 | 60
12639661 | POTOMAC EDISON / MT AIRY LIBRARY | 2025-07-24 23:00 | 60
11660801 | POTOMAC EDISON / SMITHSBURG | 2025-07-25 10:30 | 60
5584621 | POTOMAC EDISON / HANCOCK DC 1 | 2025-07-25 12:00 | 60
5584601 | POTOMAC EDISON / HANCOCK DC 2 | 2025-07-25 12:00 | 60
5560961 | POTOMAC EDISON / HANCOCK LEVEL 2 | 2025-07-25 12:00 | 60
15296511 | POTOMAC EDISON / BIG POOL | 2025-07-25 16:00 | 60
13172721 | POTOMAC EDISON / CLEAR SPRING | 2025-07-25 18:00 | 60
5437631 | POTOMAC EDISON / GARRETT COLLEGE | 2025-07-28 19:30 | 60
12403611 | POTOMAC EDISON / FRIENDSVILLE L2 | 2025-07-28 21:00 | 60
12403651 | POTOMAC EDISON / FRIENDSVILLEDC1 | 2025-07-28 21:00 | 60
12403641 | POTOMAC EDISON / FRIENDSVILLEDC2 | 2025-07-28 21:00 | 60
8172391 | POTOMAC EDISON / GRANTSVILLE | 2025-07-28 22:30 | 60
5580311 | POTOMAC EDISON / DEEP CREEK DC1 | 2025-07-29 12:30 | 60
5580321 | POTOMAC EDISON / DEEP CREEK DC2 | 2025-07-29 12:30 | 60
5571081 | POTOMAC EDISON / DEEP CREEK L2 | 2025-07-29 12:30 | 60
12793041 | POTOMAC EDISON / WESTERNPORT | 2025-07-29 14:30 | 60
12931911 | POTOMAC EDISON / LONACONING | 2025-07-29 19:00 | 60
5552771 | POTOMAC EDISON / OAKLAND | 2025-07-29 19:30 | 60
12008641 | POTOMAC EDISON / FROSTBURG DC 1 | 2025-07-29 21:00 | 60
12009131 | POTOMAC EDISON / FROSTBURG DC 2 | 2025-07-29 21:00 | 60
2357631 | POTOMAC EDISON / PARISH HALL | 2025-07-29 22:00 | 60
5581881 | POTOMAC EDISON / CUMBERLAND | 2025-07-30 14:00 | 60
13803821 | POTOMAC EDISON / CANAL PLACE DC1 | 2025-07-30 15:00 | 60
13804061 | POTOMAC EDISON / CANAL PLACE DC2 | 2025-07-30 15:00 | 60
13803451 | POTOMAC EDISON / CANAL PLACE L2 | 2025-07-30 15:00 | 60
5448261 | POTOMAC EDISON / ALLEGANY COLLEGE | 2025-07-30 17:00 | 60
13669771 | POTOMAC EDISON / ROCKY GAP DC1 | 2025-07-30 21:00 | 60
13669751 | POTOMAC EDISON / ROCKY GAP DC2 | 2025-07-30 21:00 | 60
14008831 | POTOMAC EDISON / BRUNSWICK | 2025-07-31 13:30 | 60
13383111 | POTOMAC EDISON / CATOCTIN FURNACE | 2025-07-31 17:30 | 60
13867381 | POTOMAC EDISON / POINT OF ROCKS | 2025-07-31 21:00 | 60
14219591 | POTOMAC EDISON / POOLESVILLE GC | 2025-07-31 22:30 | 60
5571081 | POTOMAC EDISON / DEEP CREEK L2 | 2025-08-18 12:00 | 60
5552771 | POTOMAC EDISON / OAKLAND | 2025-08-18 13:30 | 60
5437631 | POTOMAC EDISON / GARRETT COLLEGE | 2025-08-18 15:00 | 60
8172391 | POTOMAC EDISON / GRANTSVILLE | 2025-08-18 16:30 | 60
12403611 | POTOMAC EDISON / FRIENDSVILLE L2 | 2025-08-19 12:00 | 60
12793041 | POTOMAC EDISON / WESTERNPORT | 2025-08-19 13:30 | 60
2357631 | POTOMAC EDISON / PARISH HALL | 2025-08-19 15:00 | 60
12931911 | POTOMAC EDISON / LONACONING | 2025-08-19 16:30 | 60
13803451 | POTOMAC EDISON / CANAL PLACE L2 | 2025-08-20 12:00 | 60
5581881 | POTOMAC EDISON / CUMBERLAND | 2025-08-20 13:30 | 60
5448261 | POTOMAC EDISON / ALLEGANY COLLEGE | 2025-08-20 15:00 | 60
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-08-20 16:30 | 60
11660801 | POTOMAC EDISON / SMITHSBURG | 2025-08-21 12:00 | 60
5605511 | POTOMAC EDISON / HAGERSTOWN CC | 2025-08-21 13:30 | 60
14219131 | POTOMAC EDISON / HAGERSTOWN CCN | 2025-08-21 15:00 | 60
6150701 | POTOMAC EDISON / TANEYTOWN CC | 2025-08-21 16:30 | 60
5979231 | POTOMAC EDISON / NEW WINDSOR | 2025-08-21 18:00 | 60
13383111 | POTOMAC EDISON / CATOCTIN FURNACE | 2025-08-25 12:00 | 60
5560961 | POTOMAC EDISON / HANCOCK LEVEL 2 | 2025-08-25 13:30 | 60
13172721 | POTOMAC EDISON / CLEAR SPRING | 2025-08-25 15:00 | 60
14305141 | POTOMAC EDISON / RATTLEWOOD GC | 2025-08-25 16:30 | 60
14133821 | POTOMAC EDISON / MARKET STREET | 2025-08-26 12:00 | 60
15296511 | POTOMAC EDISON / BIG POOL | 2025-08-26 13:30 | 60
13864761 | POTOMAC EDISON / BEAR DEN MUD | 2025-08-26 15:00 | 60
13762091 | POTOMAC EDISON / TASKERS CHANCE | 2025-08-26 16:30 | 60
12403651 | POTOMAC EDISON / FRIENDSVILLEDC1 | 2025-08-27 10:30 | 60
12403641 | POTOMAC EDISON / FRIENDSVILLEDC2 | 2025-08-27 10:30 | 60
2740071 | POTOMAC EDISON / MARC TRAIN | 2025-08-27 12:00 | 60
15297511 | POTOMAC EDISON / MIDDLETOWN 2 | 2025-08-27 13:30 | 60
5523631 | POTOMAC EDISON / KEEDYSVILLE | 2025-08-27 15:00 | 60
13669771 | POTOMAC EDISON / ROCKY GAP DC1 | 2025-08-27 15:30 | 60
13669751 | POTOMAC EDISON / ROCKY GAP DC2 | 2025-08-27 15:30 | 60
15241921 | POTOMAC EDISON / SHAFER PARK | 2025-08-27 16:30 | 60
12008641 | POTOMAC EDISON / FROSTBURG DC 1 | 2025-08-27 17:30 | 60
12009131 | POTOMAC EDISON / FROSTBURG DC 2 | 2025-08-27 17:30 | 60
5523371 | POTOMAC EDISON / BOONSBORO | 2025-08-27 18:00 | 60
13803821 | POTOMAC EDISON / CANAL PLACE DC1 | 2025-08-27 19:30 | 60
13804061 | POTOMAC EDISON / CANAL PLACE DC2 | 2025-08-27 19:30 | 60
5580311 | POTOMAC EDISON / DEEP CREEK DC1 | 2025-08-27 21:00 | 60
5580321 | POTOMAC EDISON / DEEP CREEK DC2 | 2025-08-27 21:00 | 60
15311021 | POTOMAC EDISON / MASON DIXON L2 | 2025-08-28 12:00 | 60
13952081 | POTOMAC EDISON / MAX KEHNE L2 | 2025-08-28 13:30 | 60
13902071 | POTOMAC EDISON / MT AIRY DC1 | 2025-08-28 14:00 | 60
13007541 | POTOMAC EDISON / MT AIRY DC2 | 2025-08-28 14:00 | 60
13169151 | POTOMAC EDISON / MYERSVILLE L2 | 2025-08-28 15:00 | 60
13171741 | POTOMAC EDISON / MYERSVILLE DC 1 | 2025-08-28 16:00 | 60
13171731 | POTOMAC EDISON / MYERSVILLE DC 2 | 2025-08-28 16:00 | 60
14219591 | POTOMAC EDISON / POOLESVILLE GC | 2025-08-28 16:30 | 60
15311591 | POTOMAC EDISON / MASON DIXON DC1 | 2025-08-28 17:30 | 60
15311571 | POTOMAC EDISON / MASON DIXON DC2 | 2025-08-28 17:30 | 60
2742081 | POTOMAC EDISON / MIDDLETOWN | 2025-08-28 18:00 | 60
13956671 | POTOMAC EDISON / MAX KEHNE DC1 | 2025-08-28 19:30 | 60
13956681 | POTOMAC EDISON / MAX KEHNE DC2 | 2025-08-28 19:30 | 60
5584621 | POTOMAC EDISON / HANCOCK DC 1 | 2025-08-28 21:00 | 60
5584601 | POTOMAC EDISON / HANCOCK DC 2 | 2025-08-28 21:00 | 60
15907581 | POTOMAC EDISON / LINTON MUD | 2025-08-29 12:00 | 60
14008831 | POTOMAC EDISON / BRUNSWICK | 2025-08-29 13:00 | 60
12810661 | POTOMAC EDISON / MYERSVILLE TH | 2025-08-29 14:00 | 60
13867381 | POTOMAC EDISON / POINT OF ROCKS | 2025-08-29 15:00 | 60
2078741 | POTOMAC EDISON / NEW MARKET TH | 2025-08-29 16:30 | 60
13931921 | POTOMAC EDISON / MONOCACY MARC | 2025-08-29 18:30 | 60
12639661 | POTOMAC EDISON / MT AIRY LIBRARY | 2025-09-02 12:00 | 60
12639661 | POTOMAC EDISON / MT AIRY LIBRARY | 2025-09-04 16:00 | 60
13902071 | POTOMAC EDISON / MT AIRY DC1 | 2025-09-04 17:30 | 60
13007541 | POTOMAC EDISON / MT AIRY DC2 | 2025-09-04 17:30 | 60
14305141 | POTOMAC EDISON / RATTLEWOOD GC | 2025-09-04 19:00 | 60
13931921 | POTOMAC EDISON / MONOCACY MARC | 2025-09-11 16:00 | 60
12793041 | POTOMAC EDISON / WESTERNPORT | 2025-09-16 12:00 | 60
2357631 | POTOMAC EDISON / PARISH HALL | 2025-09-16 13:30 | 60
5552771 | POTOMAC EDISON / OAKLAND | 2025-09-16 15:00 | 60
5437631 | POTOMAC EDISON / GARRETT COLLEGE | 2025-09-16 16:30 | 60
12931911 | POTOMAC EDISON / LONACONING | 2025-09-17 12:00 | 60
8172391 | POTOMAC EDISON / GRANTSVILLE | 2025-09-17 13:30 | 60
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-09-17 15:00 | 60
14219131 | POTOMAC EDISON / HAGERSTOWN CCN | 2025-09-17 16:30 | 60
5605511 | POTOMAC EDISON / HAGERSTOWN CC | 2025-09-17 19:00 | 60
5581881 | POTOMAC EDISON / CUMBERLAND | 2025-09-18 12:00 | 60
5448261 | POTOMAC EDISON / ALLEGANY COLLEGE | 2025-09-18 13:30 | 60
6150701 | POTOMAC EDISON / TANEYTOWN CC | 2025-09-18 16:30 | 60
14008831 | POTOMAC EDISON / BRUNSWICK | 2025-09-19 13:30 | 60
2740071 | POTOMAC EDISON / MARC TRAIN | 2025-09-19 15:00 | 60
11660801 | POTOMAC EDISON / SMITHSBURG | 2025-09-19 17:30 | 60
5979231 | POTOMAC EDISON / NEW WINDSOR | 2025-09-19 18:30 | 60
13383111 | POTOMAC EDISON / CATOCTIN FURNACE | 2025-09-19 19:30 | 60
5523371 | POTOMAC EDISON / BOONSBORO | 2025-09-22 12:00 | 60
15296511 | POTOMAC EDISON / BIG POOL | 2025-09-22 13:00 | 60
12810661 | POTOMAC EDISON / MYERSVILLE TH | 2025-09-22 15:00 | 60
15241921 | POTOMAC EDISON / SHAFER PARK | 2025-09-22 16:30 | 60
13867381 | POTOMAC EDISON / POINT OF ROCKS | 2025-09-22 18:00 | 60
14219591 | POTOMAC EDISON / POOLESVILLE GC | 2025-09-23 12:00 | 60
13172721 | POTOMAC EDISON / CLEAR SPRING | 2025-09-23 13:00 | 60
2078741 | POTOMAC EDISON / NEW MARKET TH | 2025-09-23 13:30 | 60
14133821 | POTOMAC EDISON / MARKET STREET | 2025-09-23 15:00 | 60
13171741 | POTOMAC EDISON / MYERSVILLE DC 1 | 2025-09-23 19:30 | 60
13171731 | POTOMAC EDISON / MYERSVILLE DC 2 | 2025-09-23 19:30 | 60
5523631 | POTOMAC EDISON / KEEDYSVILLE | 2025-09-24 12:00 | 60
5560961 | POTOMAC EDISON / HANCOCK LEVEL 2 | 2025-09-24 13:30 | 60
13864761 | POTOMAC EDISON / BEAR DEN MUD | 2025-09-25 12:00 | 60
15311591 | POTOMAC EDISON / MASON DIXON DC1 | 2025-09-25 12:00 | 60
15311571 | POTOMAC EDISON / MASON DIXON DC2 | 2025-09-25 12:00 | 60
5584621 | POTOMAC EDISON / HANCOCK DC 1 | 2025-09-25 13:00 | 60
5584601 | POTOMAC EDISON / HANCOCK DC 2 | 2025-09-25 13:00 | 60
15907581 | POTOMAC EDISON / LINTON MUD | 2025-09-25 13:30 | 60
12008641 | POTOMAC EDISON / FROSTBURG DC 1 | 2025-09-25 14:00 | 60
12009131 | POTOMAC EDISON / FROSTBURG DC 2 | 2025-09-25 14:00 | 60
13669771 | POTOMAC EDISON / ROCKY GAP DC1 | 2025-09-25 15:00 | 60
13669751 | POTOMAC EDISON / ROCKY GAP DC2 | 2025-09-25 15:00 | 60
13956671 | POTOMAC EDISON / MAX KEHNE DC1 | 2025-09-25 17:00 | 60
13956681 | POTOMAC EDISON / MAX KEHNE DC2 | 2025-09-25 17:00 | 60
13902071 | POTOMAC EDISON / MT AIRY DC1 | 2025-09-25 18:00 | 60
13007541 | POTOMAC EDISON / MT AIRY DC2 | 2025-09-25 18:00 | 60
13931921 | POTOMAC EDISON / MONOCACY MARC | 2025-09-26 12:00 | 60
13803821 | POTOMAC EDISON / CANAL PLACE DC1 | 2025-09-29 12:00 | 60
13804061 | POTOMAC EDISON / CANAL PLACE DC2 | 2025-09-29 12:00 | 60
15297511 | POTOMAC EDISON / MIDDLETOWN 2 | 2025-09-29 12:00 | 60
2742081 | POTOMAC EDISON / MIDDLETOWN | 2025-09-29 13:30 | 60
12403651 | POTOMAC EDISON / FRIENDSVILLEDC1 | 2025-09-29 15:00 | 60
12403641 | POTOMAC EDISON / FRIENDSVILLEDC2 | 2025-09-29 15:00 | 60
13762091 | POTOMAC EDISON / TASKERS CHANCE | 2025-09-29 15:00 | 60
5580311 | POTOMAC EDISON / DEEP CREEK DC1 | 2025-09-29 17:00 | 60
5580321 | POTOMAC EDISON / DEEP CREEK DC2 | 2025-09-29 17:00 | 60
5571081 | POTOMAC EDISON / DEEP CREEK L2 | 2025-09-30 12:00 | 60
15311021 | POTOMAC EDISON / MASON DIXON L2 | 2025-09-30 13:30 | 60
12403611 | POTOMAC EDISON / FRIENDSVILLE L2 | 2025-09-30 15:00 | 60
13169151 | POTOMAC EDISON / MYERSVILLE L2 | 2025-09-30 16:30 | 60
13803451 | POTOMAC EDISON / CANAL PLACE L2 | 2025-09-30 18:00 | 60
13952081 | POTOMAC EDISON / MAX KEHNE L2 | 2025-09-30 19:30 | 60

## Station Repairs
Q3 2025 PE EV Charging Station Repairs
Station ID | Station Name | Port Identifier | Date/time issue identified (UTC) | Date/time repaired (UTC) | Issue Type | Repair Activity | Issue Downtime Duration Minutes
13761651 | POTOMAC EDISON / THE GARDENS MUD | 1 | 2025-06-15 15:42 | 2025-07-11 15:43 | Network software failure | Power cycle | 37441
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2 | 2025-06-15 15:42 | 2025-07-11 15:43 | Network software failure | Power cycle | 37441
12403651 | POTOMAC EDISON / FRIENDSVILLEDC1 | 1 | 2025-07-15 15:22 | 2025-07-30 15:24 | EVSE component failure | CCS Cable Replacement | 21602
14008831 | POTOMAC EDISON / BRUNSWICK | 1 | 2025-07-05 16:06 | 2025-07-14 16:08 | Network software failure | Power cycle | 12962
14008831 | POTOMAC EDISON / BRUNSWICK | 1 | 2025-08-18 14:06 | 2025-09-02 05:06 | EVSE software failure | Adjust Configuration | 21060
14008831 | POTOMAC EDISON / BRUNSWICK | 1 | 2025-08-19 11:32 | 2025-08-29 14:58 | EVSE software failure | Power cycle | 14606
13172721 | POTOMAC EDISON / CLEAR SPRING | 1 | 2025-09-12 12:33 | 2025-09-16 16:35 | EVSE software failure | Adjust Configuration | 6002
13172721 | POTOMAC EDISON / CLEAR SPRING | 2 | 2025-09-12 12:33 | 2025-09-16 16:35 | EVSE software failure | Adjust Configuration | 6002
13172721 | POTOMAC EDISON / CLEAR SPRING | 1 | 2025-09-16 15:00 | 2025-09-23 19:57 | Network software failure | Network software configuration change | 10377
13172721 | POTOMAC EDISON / CLEAR SPRING | 2 | 2025-09-16 15:00 | 2025-09-23 19:57 | Network software failure | Network software configuration change | 10377
14008831 | POTOMAC EDISON / BRUNSWICK | 1 | 2025-09-09 15:20 | 2025-09-19 16:14 | Network software failure | Power cycle | 14454
5584621 | POTOMAC EDISON / HANCOCK DC 1 | 1 | 2025-07-02 | 2025-08-07 | Faulted | Power Module Replacement | 41280
5523631 | POTOMAC EDISON / KEEDYSVILLE | 1 | 2025-07-23 | 2025-08-12 | Faulted | Swapped Station | 334910.65
5523631 | POTOMAC EDISON / KEEDYSVILLE | 2 | 2025-07-23 | 2025-08-12 | Faulted | Swapped Station | 334910.65
13804061 | POTOMAC EDISON / CANAL PLACE DC2 | 1 | 2025-07-23 | 2025-08-21 | Faulted | Hardware Replacement | 334910.65
12009131 | POTOMAC EDISON / FROSTBURG DC 2 | 1 | 2025-08-14 | 2025-08-25 | Faulted | Hardware Replacement | 334939.5
2357631 | POTOMAC EDISON / PARISH HALL | 1 | 2025-07-01 | 2025-07-09 | Disconnected | Power Cycle | 11520
2357631 | POTOMAC EDISON / PARISH HALL | 2 | 2025-07-01 | 2025-07-09 | Disconnected | Power Cycle | 11520

## Uptime
Q3-2025 PE EV Charging Station Uptime
Station ID | Station Name | Port Identifier | Uptime JULY 2025 | Reason for Failed Uptime (Below 97%) JULY 2025 | Exempt % of time JULY 2025 | Uptime AUGUST 2025 | Reason for Failed Uptime (Below 97%) AUGUST 2025 | Exempt % of time AUGUST 2025 | Uptime SEPTEMBER 2025 | Reason for Failed Uptime (Below 97%) SEPTEMBER 2025 | Exempt % of time SEPTEMBER 2025
5448261 | POTOMAC EDISON / ALLEGANY COLLEG | 1 | 99.31% |  | 0% | 99.84% |  | 0% | 100% |  | 0%
5448261 | POTOMAC EDISON / ALLEGANY COLLEG | 2 | 99.31% |  | 0% | 99.84% |  | 0% | 100% |  | 0%
13864761 | POTOMAC EDISON / BEAR DEN MUD | 1 | 99.14% |  | 0% | 100% |  | 0% | 99.88% |  | 0%
13864761 | POTOMAC EDISON / BEAR DEN MUD | 2 | 99.14% |  | 0% | 100% |  | 0% | 99.88% |  | 0%
15296511 | POTOMAC EDISON / BIG POOL | 1 | 99.58% |  | 0% | 100% |  | 0% | 100% |  | 0%
15296511 | POTOMAC EDISON / BIG POOL | 2 | 99.58% |  | 0% | 100% |  | 0% | 100% |  | 0%
5523371 | POTOMAC EDISON / BOONSBORO | 1 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
5523371 | POTOMAC EDISON / BOONSBORO | 2 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
14008831 | POTOMAC EDISON / BRUNSWICK | 1 | 84.5% | Faulted status | 0% | 55.6% | Faulted status | 0% | 42.19% | Faulted status | 0%
14008831 | POTOMAC EDISON / BRUNSWICK | 2 | 99.09% |  | 0% | 100% |  | 0% | 100% |  | 0%
13803821 | POTOMAC EDISON / CANAL PLACE DC1 | 1 | 99.97% |  | 0% | 99.96% |  | 0% | 100% |  | 0%
13804061 | POTOMAC EDISON / CANAL PLACE DC2 | 1 | 74.19% | Hardware Failure | 0% | 35.4% | Hardware Failure | 0% | 100% |  | 0%
13804061 | POTOMAC EDISON / CANAL PLACE DC2 | 2 | 74.19% | Hardware Failure | 0% | 35.48% | Hardware Failure | 0% | 100% |  | 0%
13803451 | POTOMAC EDISON / CANAL PLACE L2 | 1 | 99.37% |  | 0% | 100% |  | 0% | 100% |  | 0%
13803451 | POTOMAC EDISON / CANAL PLACE L2 | 2 | 99.37% |  | 0% | 100% |  | 0% | 100% |  | 0%
13383111 | POTOMAC EDISON / CATOCTIN FURNAC | 1 | 98.54% |  | 0% | 99.91% |  | 0% | 100% |  | 0%
13383111 | POTOMAC EDISON / CATOCTIN FURNAC | 2 | 98.54% |  | 0% | 99.91% |  | 0% | 100% |  | 0%
13172721 | POTOMAC EDISON / CLEAR SPRING | 1 | 80.92% | EVSE software failure | 0% | 100% |  | 0% | 81.83% | network configuration issues | 0%
13172721 | POTOMAC EDISON / CLEAR SPRING | 2 | 80.92% | EVSE software failure | 0% | 100% |  | 0% | 81.83% | network configuration issues | 0%
5581881 | POTOMAC EDISON / CUMBERLAND | 1 | 99.35% |  | 0% | 100% |  | 0% | 99.88% |  | 0%
5581881 | POTOMAC EDISON / CUMBERLAND | 2 | 99.35% |  | 0% | 100% |  | 0% | 99.88% |  | 0%
5580311 | POTOMAC EDISON / DEEP CREEK DC1 | 1 | 97.58% |  | 0% | 100% |  | 0% | 98.18% |  | 0%
5580321 | POTOMAC EDISON / DEEP CREEK DC2 | 1 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
5571081 | POTOMAC EDISON / DEEP CREEK L2 | 1 | 99.7% |  | 0% | 99.5% |  | 0% | 99.74% |  | 0%
12403611 | POTOMAC EDISON / FRIENDSVILLE L2 | 1 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
12403611 | POTOMAC EDISON / FRIENDSVILLE L2 | 2 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
12403651 | POTOMAC EDISON / FRIENDSVILLEDC1 | 1 | 92.5% | CCS Cable Damage | 0% | 100% |  | 0% | 100% |  | 0%
12403641 | POTOMAC EDISON / FRIENDSVILLEDC2 | 1 | 98.57% |  | 0% | 100% |  | 0% | 100% |  | 0%
12008641 | POTOMAC EDISON / FROSTBURG DC 1 | 1 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
12009131 | POTOMAC EDISON / FROSTBURG DC 2 | 1 | 100% |  | 0% | 64.52% | Hardware Failure | 0% | 99.94% |  | 0%
12009131 | POTOMAC EDISON / FROSTBURG DC 2 | 2 | 100% |  | 0% | 64.52% | Hardware Failure | 0% | 100% |  | 0%
5437631 | POTOMAC EDISON / GARRETT COLLEGE | 1 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
5437631 | POTOMAC EDISON / GARRETT COLLEGE | 2 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
8172391 | POTOMAC EDISON / GRANTSVILLE | 1 | 99.28% |  | 0% | 100% |  | 0% | 100% |  | 0%
8172391 | POTOMAC EDISON / GRANTSVILLE | 2 | 99.28% |  | 0% | 100% |  | 0% | 100% |  | 0%
5605511 | POTOMAC EDISON / HAGERSTOWN CC | 1 | 99.4% |  | 0% | 100% |  | 0% | 100% |  | 0%
5605511 | POTOMAC EDISON / HAGERSTOWN CC | 2 | 97.94% |  | 0% | 98.89% |  | 0% | 100% |  | 0%
14219131 | POTOMAC EDISON / HAGERSTOWN CCN | 1 | 26.76% | Site construction | 73.24% | 100% |  | 0% | 100% |  | 0%
14219131 | POTOMAC EDISON / HAGERSTOWN CCN | 2 | 26.76% | Site construction | 73.24% | 100% |  | 0% | 100% |  | 0%
5584621 | POTOMAC EDISON / HANCOCK DC 1 | 2 | 7.527% | Hardware Failure | 0% | 80.65% | Hardware Failure | 0% | 100% |  | 0%
5584621 | POTOMAC EDISON / HANCOCK DC 1 | 1 | 7.527% | Hardware Failure | 0% | 80.65% | Hardware Failure | 0% | 100% |  | 0%
5584601 | POTOMAC EDISON / HANCOCK DC 2 | 1 | 99.96% |  | 0% | 99.88% |  | 0% | 100% |  | 0%
5560961 | POTOMAC EDISON / HANCOCK LEVEL 2 | 1 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
5560961 | POTOMAC EDISON / HANCOCK LEVEL 2 | 2 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
5523631 | POTOMAC EDISON / KEEDYSVILLE | 1 | 74.19% | Hardware Failure | 0% | 64.52% | Hardware Failure | 0% | 100% |  | 0%
5523631 | POTOMAC EDISON / KEEDYSVILLE | 2 | 74.19% | Hardware Failure | 0% | 64.52% | Hardware Failure | 0% | 100% |  | 0%
15907581 | POTOMAC EDISON / LINTON MUD | 1 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
15907581 | POTOMAC EDISON / LINTON MUD | 2 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
12931911 | POTOMAC EDISON / LONACONING | 1 | 100% |  | 0% | 99.15% |  | 0% | 100% |  | 0%
12931911 | POTOMAC EDISON / LONACONING | 2 | 100% |  | 0% | 99.15% |  | 0% | 100% |  | 0%
2740071 | POTOMAC EDISON / MARC TRAIN | 1 | 99.64% |  | 0% | 100% |  | 0% | 100% |  | 0%
2740071 | POTOMAC EDISON / MARC TRAIN | 2 | 99.64% |  | 0% | 100% |  | 0% | 100% |  | 0%
14133821 | POTOMAC EDISON / MARKET STREET | 1 | 99.37% |  | 0% | 100% |  | 0% | 97.31% |  | 0%
14133821 | POTOMAC EDISON / MARKET STREET | 2 | 99.37% |  | 0% | 100% |  | 0% | 97.31% |  | 0%
15311591 | POTOMAC EDISON / MASON DIXON DC1 | 1 | 99.99% |  | 0% | 99.98% |  | 0% | 100% |  | 0%
15311571 | POTOMAC EDISON / MASON DIXON DC2 | 1 | 98.34% |  | 0% | 98.32% |  | 0% | 94.78% | unreachable | 0%
15311021 | POTOMAC EDISON / MASON DIXON L2 | 1 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
15311021 | POTOMAC EDISON / MASON DIXON L2 | 2 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
13956671 | POTOMAC EDISON / MAX KEHNE DC1 | 1 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
13956681 | POTOMAC EDISON / MAX KEHNE DC2 | 1 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
13952081 | POTOMAC EDISON / MAX KEHNE L2 | 1 | 99.37% |  | 0% | 100% |  | 0% | 100% |  | 0%
13952081 | POTOMAC EDISON / MAX KEHNE L2 | 2 | 99.37% |  | 0% | 100% |  | 0% | 100% |  | 0%
2742081 | POTOMAC EDISON / MIDDLETOWN | 1 | 99.38% |  | 0% | 99.62% |  | 0% | 100% |  | 0%
2742081 | POTOMAC EDISON / MIDDLETOWN | 2 | 99.38% |  | 0% | 99.62% |  | 0% | 100% |  | 0%
15297511 | POTOMAC EDISON / MIDDLETOWN 2 | 1 | 99.99% |  | 0% | 99.71% |  | 0% | 99.9% |  | 0%
15297511 | POTOMAC EDISON / MIDDLETOWN 2 | 2 | 99.99% |  | 0% | 99.71% |  | 0% | 99.87% |  | 0%
13931921 | POTOMAC EDISON / MONOCACY MARC | 1 | 100% |  | 0% | 99.84% |  | 0% | 100% |  | 0%
13931921 | POTOMAC EDISON / MONOCACY MARC | 2 | 100% |  | 0% | 99.84% |  | 0% | 100% |  | 0%
13902071 | POTOMAC EDISON / MT AIRY DC1 | 1 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
13007541 | POTOMAC EDISON / MT AIRY DC2 | 1 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
12639661 | POTOMAC EDISON / MT AIRY LIBRARY | 1 | 99.66% |  | 0% | 100% |  | 0% | 100% |  | 0%
12639661 | POTOMAC EDISON / MT AIRY LIBRARY | 2 | 99.66% |  | 0% | 100% |  | 0% | 100% |  | 0%
13171741 | POTOMAC EDISON / MYERSVILLE DC 1 | 1 | 99.99% |  | 0% | 100% |  | 0% | 99.97% |  | 0%
13171731 | POTOMAC EDISON / MYERSVILLE DC 2 | 1 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
13169151 | POTOMAC EDISON / MYERSVILLE L2 | 1 | 100% |  | 0% | 96.29% | unreachable | 0% | 100% |  | 0%
13169151 | POTOMAC EDISON / MYERSVILLE L2 | 2 | 100% |  | 0% | 96.29% | unreachable | 0% | 100% |  | 0%
12810661 | POTOMAC EDISON / MYERSVILLE TH | 1 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
12810661 | POTOMAC EDISON / MYERSVILLE TH | 2 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
2078741 | POTOMAC EDISON / NEW MARKET TH | 1 | 99.37% |  | 0% | 100% |  | 0% | 100% |  | 0%
2078741 | POTOMAC EDISON / NEW MARKET TH | 2 | 99.37% |  | 0% | 100% |  | 0% | 100% |  | 0%
5979231 | POTOMAC EDISON / NEW WINDSOR | 1 | 99.64% |  | 0% | 100% |  | 0% | 100% |  | 0%
5979231 | POTOMAC EDISON / NEW WINDSOR | 2 | 99.64% |  | 0% | 100% |  | 0% | 100% |  | 0%
5552771 | POTOMAC EDISON / OAKLAND | 1 | 99.37% |  | 0% | 99.98% |  | 0% | 100% |  | 0%
5552771 | POTOMAC EDISON / OAKLAND | 2 | 99.37% |  | 0% | 99.98% |  | 0% | 100% |  | 0%
2357631 | POTOMAC EDISON / PARISH HALL | 1 | 74.19% | unreachable | 0% | 100% |  | 0% | 100% |  | 0%
2357631 | POTOMAC EDISON / PARISH HALL | 2 | 74.19% | unreachable | 0% | 100% |  | 0% | 100% |  | 0%
13867381 | POTOMAC EDISON / POINT OF ROCKS | 1 | 92.93% | Faulted status | 0% | 100% |  | 0% | 100% |  | 0%
13867381 | POTOMAC EDISON / POINT OF ROCKS | 2 | 92.93% | Faulted status | 0% | 100% |  | 0% | 100% |  | 0%
14219591 | POTOMAC EDISON / POOLESVILLE GC | 1 | 99.37% |  | 0% | 99.98% |  | 0% | 100% |  | 0%
14219591 | POTOMAC EDISON / POOLESVILLE GC | 2 | 99.37% |  | 0% | 99.98% |  | 0% | 100% |  | 0%
14305141 | POTOMAC EDISON / RATTLEWOOD GC | 1 | 99.35% |  | 0% | 100% |  | 0% | 100% |  | 0%
14305141 | POTOMAC EDISON / RATTLEWOOD GC | 2 | 99.35% |  | 0% | 100% |  | 0% | 100% |  | 0%
13669771 | POTOMAC EDISON / ROCKY GAP DC1 | 1 | 100% |  | 0% | 99.98% |  | 0% | 100% |  | 0%
13669751 | POTOMAC EDISON / ROCKY GAP DC2 | 1 | 100% |  | 0% | 99.84% |  | 0% | 100% |  | 0%
15241921 | POTOMAC EDISON / SHAFER PARK | 1 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
15241921 | POTOMAC EDISON / SHAFER PARK | 2 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
11660801 | POTOMAC EDISON / SMITHSBURG | 1 | 99.65% |  | 0% | 100% |  | 0% | 100% |  | 0%
11660801 | POTOMAC EDISON / SMITHSBURG | 2 | 100% |  | 0% | 100% |  | 0% | 100% |  | 0%
6150701 | POTOMAC EDISON / TANEYTOWN CC | 1 | 99.36% |  | 0% | 100% |  | 0% | 100% |  | 0%
6150701 | POTOMAC EDISON / TANEYTOWN CC | 2 | 99.36% |  | 0% | 100% |  | 0% | 100% |  | 0%
13762091 | POTOMAC EDISON / TASKERS CHANCE | 1 | 99.21% |  | 0% | 100% |  | 0% | 100% |  | 0%
13762091 | POTOMAC EDISON / TASKERS CHANCE | 2 | 99.21% |  | 0% | 100% |  | 0% | 100% |  | 0%
13761651 | POTOMAC EDISON / THE GARDENS MUD | 1 | 46.59% | unreachable | 0% | 95.68% | unreachable | 0% | 94.82% | offline | 0%
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2 | 46.59% | unreachable | 0% | 95.68% | unreachable | 0% | 94.82% | offline | 0%
12793041 | POTOMAC EDISON / WESTERNPORT | 1 | 95.94% | Faulted status | 0% | 100% |  | 0% | 100% |  | 0%
12793041 | POTOMAC EDISON / WESTERNPORT | 2 | 95.92% | Faulted status | 0% | 100% |  | 0% | 100% |  | 0%

## Maintenance and Repair Costs
Q3 2025 PE EV Charging Station Maintenance and Repair Costs
Station Name | Station Type | Preventive Maintenance costs for JULY 2025 | Preventive Maintenance costs for AUGUST 2025 | Preventive Maintenance costs for SEPTEMBER 2025 | Total Quarterly Preventive Maintenance Costs | Corrective Maintenance costs for JULY 2025 | Corrective Maintenance costs for AUGUST 2025 | Corrective Maintenance costs for SEPTEMBER 2025 | Total Quarterly Corrective Maintenance Costs
POTOMAC EDISON / ALLEGANY COLLEG | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / BEAR DEN MUD | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / BIG POOL | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / BOONSBORO | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / BRUNSWICK | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / CANAL PLACE DC1 | DCFC | 293.25 | 293.25 | 293.25 | 879.75 | 134 | 134 | 134 | 402
POTOMAC EDISON / CANAL PLACE DC2 | DCFC | 293.25 | 293.25 | 293.25 | 879.75 | 134 | 134 | 134 | 402
POTOMAC EDISON / CANAL PLACE L2 | L2 | 165 | 165 | 0 | 330 | 45 | 45 | 45 | 135
POTOMAC EDISON / CATOCTIN FURNAC | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / CLEAR SPRING | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / CUMBERLAND | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / DEEP CREEK DC1 | DCFC | 293.25 | 293.25 | 293.25 | 879.75 | 134 | 134 | 134 | 402
POTOMAC EDISON / DEEP CREEK DC2 | DCFC | 293.25 | 293.25 | 293.25 | 879.75 | 134 | 134 | 134 | 402
POTOMAC EDISON / DEEP CREEK L2 | L2 | 165 | 165 | 0 | 330 | 45 | 45 | 45 | 135
POTOMAC EDISON / FRIENDSVILLE L2 | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / FRIENDSVILLEDC1 | DCFC | 293.25 | 293.25 | 293.25 | 879.75 | 134 | 134 | 134 | 402
POTOMAC EDISON / FRIENDSVILLEDC2 | DCFC | 293.25 | 293.25 | 293.25 | 879.75 | 134 | 134 | 134 | 402
POTOMAC EDISON / FROSTBURG DC 1 | DCFC | 293.25 | 293.25 | 293.25 | 879.75 | 134 | 134 | 134 | 402
POTOMAC EDISON / FROSTBURG DC 2 | DCFC | 293.25 | 293.25 | 293.25 | 879.75 | 134 | 134 | 134 | 402
POTOMAC EDISON / GARRETT COLLEGE | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / GRANTSVILLE | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / HAGERSTOWN CC | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / HAGERSTOWN CCN | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / HANCOCK DC 1 | DCFC | 293.25 | 293.25 | 293.25 | 879.75 | 134 | 134 | 134 | 402
POTOMAC EDISON / HANCOCK DC 2 | DCFC | 293.25 | 293.25 | 293.25 | 879.75 | 134 | 134 | 134 | 402
POTOMAC EDISON / HANCOCK LEVEL 2 | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / KEEDYSVILLE | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / LINTON MUD | L2 | 0 | 165 | 165 | 330 | 45 | 45 | 45 | 135
POTOMAC EDISON / LONACONING | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / MARC TRAIN | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / MARKET STREET | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / MASON DIXON DC1 | DCFC | 293.25 | 293.25 | 293.25 | 879.75 | 134 | 134 | 134 | 402
POTOMAC EDISON / MASON DIXON DC2 | DCFC | 293.25 | 293.25 | 293.25 | 879.75 | 134 | 134 | 134 | 402
POTOMAC EDISON / MASON DIXON L2 | L2 | 165 | 165 | 0 | 330 | 45 | 45 | 45 | 135
POTOMAC EDISON / MAX KEHNE DC1 | DCFC | 293.25 | 293.25 | 293.25 | 879.75 | 134 | 134 | 134 | 402
POTOMAC EDISON / MAX KEHNE DC2 | DCFC | 293.25 | 293.25 | 293.25 | 879.75 | 134 | 134 | 134 | 402
POTOMAC EDISON / MAX KEHNE L2 | L2 | 165 | 165 | 0 | 330 | 45 | 45 | 45 | 135
POTOMAC EDISON / MIDDLETOWN | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / MIDDLETOWN 2 | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / MONOCACY MARC | L2 | 165 | 165 | 330 | 660 | 45 | 45 | 45 | 135
POTOMAC EDISON / MT AIRY DC1 | DCFC | 293.25 | 293.25 | 586.5 | 1173 | 134 | 134 | 134 | 402
POTOMAC EDISON / MT AIRY DC2 | DCFC | 293.25 | 293.25 | 586.5 | 1173 | 134 | 134 | 134 | 402
POTOMAC EDISON / MT AIRY LIBRARY | L2 | 165 | 0 | 330 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / MYERSVILLE DC 1 | DCFC | 293.25 | 293.25 | 293.25 | 879.75 | 134 | 134 | 134 | 402
POTOMAC EDISON / MYERSVILLE DC 2 | DCFC | 293.25 | 293.25 | 293.25 | 879.75 | 134 | 134 | 134 | 402
POTOMAC EDISON / MYERSVILLE L2 | L2 | 165 | 165 | 0 | 330 | 45 | 45 | 45 | 135
POTOMAC EDISON / MYERSVILLE TH | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / NEW MARKET TH | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / NEW WINDSOR | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / OAKLAND | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / PARISH HALL | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / POINT OF ROCKS | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / POOLESVILLE GC | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / RATTLEWOOD GC | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / ROCKY GAP DC1 | DCFC | 293.25 | 293.25 | 293.25 | 879.75 | 134 | 134 | 134 | 402
POTOMAC EDISON / ROCKY GAP DC2 | DCFC | 293.25 | 293.25 | 293.25 | 879.75 | 134 | 134 | 134 | 402
POTOMAC EDISON / SHAFER PARK | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / SMITHSBURG | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / TANEYTOWN CC | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / TASKERS CHANCE | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / THE GARDENS MUD | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135
POTOMAC EDISON / WESTERNPORT | L2 | 165 | 165 | 165 | 495 | 45 | 45 | 45 | 135

## Cost of Electricity
Q3 2025 PE EV Charging Station Cost of Electricity
Site Name | Number of L2 | Number of DCFC | Cost of Energy per Site JULY 2025 | Cost of Energy per Site AUGUST 2025 | Cost of Energy per Site SEPTEMBER 2025 | Total Quarterly Cost of Energy per Site | Average cost of electricity needed to operate each charging station JULY 2025 | Average cost of electricity needed to operate each charging station AUGUST 2025 | Average cost of electricity needed to operate each charging station SEPTEMBER 2025
POTOMAC EDISON / ALLEGANY COLLEG | 1 | 0 | 133.91 | 95.54 | 211.22 | 440.67 | N/A | N/A | N/A
POTOMAC EDISON / BEAR DEN MUD | 1 | 0 | 338.77 | 421.3 | 313.84 | 1073.91 | N/A | N/A | N/A
POTOMAC EDISON / BIG POOL | 1 | 0 | 28.52 | 39.85 | 67 | 135.37 | N/A | N/A | N/A
POTOMAC EDISON / BOONSBORO | 1 | 0 | 250.45 | 278.04 | 335.85 | 864.34 | N/A | N/A | N/A
POTOMAC EDISON / BRUNSWICK | 1 | 0 | 184.09 | 217.97 | 257.61 | 659.67 | N/A | N/A | N/A
POTOMAC EDISON / CANAL PLACE DCFC | 0 | 2 | 2553.06 | 2801.32 | 2332.77 | 7687.15 | 1276.53 | 1400.66 | 1166.38
POTOMAC EDISON / CANAL PLACE L2 | 1 | 0 | 196.64 | 208.27 | 217.16 | 622.07 | N/A | N/A | N/A
POTOMAC EDISON / CATOCTIN FURNAC | 1 | 0 | 35.69 | 27.57 | 29.16 | 92.42 | N/A | N/A | N/A
POTOMAC EDISON / CLEAR SPRING | 1 | 0 | 32.67 | 164.89 | 62.32 | 259.88 | N/A | N/A | N/A
POTOMAC EDISON / CUMBERLAND | 1 | 0 | 40.1 | 119.89 | 88.24 | 248.23 | N/A | N/A | N/A
POTOMAC EDISON / DEEP CREEK DCFC | 0 | 2 | 2818.66 | 2677.57 | 1735.25 | 7231.48 | 1409.33 | 1338.78 | 867.62
POTOMAC EDISON / DEEP CREEK L2 | 1 | 0 | 22.96 | 32.67 | 30.6 | 86.23 | N/A | N/A | N/A
POTOMAC EDISON / FRIENDSVILLE L2 | 1 | 0 | 148.16 | 106.71 | 43.5 | 298.37 | N/A | N/A | N/A
POTOMAC EDISON / FRIENDSVILLE DCFC | 0 | 2 | 1818.37 | 2119.45 | 1710.76 | 5648.58 | 909.18 | 1059.72 | 855.38
POTOMAC EDISON / FROSTBURG DCFC | 0 | 2 | 2320.47 | 2234.94 | 1636.63 | 6192.04 | 1160.23 | 1117.47 | 818.31
POTOMAC EDISON / GARRETT COLLEGE | 1 | 0 | 92.37 | 160.56 | 164.47 | 417.4 | N/A | N/A | N/A
POTOMAC EDISON / GRANTSVILLE | 1 | 0 | 93.39 | 169.67 | 212.68 | 475.74 | N/A | N/A | N/A
POTOMAC EDISON / HAGERSTOWN CC | 1 | 0 | 206.76 | 156.16 | 192.4 | 555.32 | N/A | N/A | N/A
POTOMAC EDISON / HAGERSTOWN CCN | 1 | 0 | 11.25 | 146.1 | 175.21 | 332.56 | N/A | N/A | N/A
POTOMAC EDISON / HANCOCK DCFC | 0 | 2 | 1820.74 | 2181.83 | 1701.98 | 5704.55 | 910.37 | 1090.91 | 850.99
POTOMAC EDISON / HANCOCK LEVEL 2 | 1 | 0 | 185.33 | 250.7 | 228.81 | 664.84 | N/A | N/A | N/A
POTOMAC EDISON / KEEDYSVILLE | 1 | 0 | 45.42 | 34.42 | 58.35 | 138.19 | N/A | N/A | N/A
POTOMAC EDISON / LINTON MUD | 1 | 0 | 340.63 | 486.08 | 474.16 | 1300.87 | N/A | N/A | N/A
POTOMAC EDISON / LONACONING | 1 | 0 | 19.43 | 11.72 | 19.3 | 50.45 | N/A | N/A | N/A
POTOMAC EDISON / MARC TRAIN | 1 | 0 | 246.52 | 240.42 | 227.39 | 714.33 | N/A | N/A | N/A
POTOMAC EDISON / MARKET STREET | 1 | 0 | 424.59 | 387.69 | 378.96 | 1191.24 | N/A | N/A | N/A
POTOMAC EDISON / MASON DIXON DCFC | 0 | 2 | 2332.33 | 2324.15 | 2022.21 | 6678.69 | 1166.16 | 1162.07 | 1011.1
POTOMAC EDISON / MASON DIXON L2 | 1 | 0 | 31.4 | 18.98 | 32.83 | 83.21 | N/A | N/A | N/A
POTOMAC EDISON / MAX KEHNE DCFC | 0 | 2 | 4900.45 | 5008.96 | 4485.65 | 14395.06 | 2450.22 | 2504.48 | 2242.82
POTOMAC EDISON / MAX KEHNE L2 | 1 | 0 | 228.43 | 279.89 | 271.92 | 780.24 | N/A | N/A | N/A
POTOMAC EDISON / MIDDLETOWN | 1 | 0 | 352.06 | 295.13 | 262.26 | 909.45 | N/A | N/A | N/A
POTOMAC EDISON / MIDDLETOWN 2 | 1 | 0 | 170.79 | 70.61 | 84.84 | 326.24 | N/A | N/A | N/A
POTOMAC EDISON / MONOCACY MARC | 1 | 0 | 127.44 | 47.18 | 164.48 | 339.1 | N/A | N/A | N/A
POTOMAC EDISON / MT AIRY DCFC | 0 | 2 | 2694.78 | 2855.39 | 2569.74 | 8119.91 | 1347.39 | 1427.69 | 1284.87
POTOMAC EDISON / MT AIRY LIBRARY | 1 | 0 | 231.44 | 151.62 | 186.64 | 569.7 | N/A | N/A | N/A
POTOMAC EDISON / MYERSVILLE DCFC | 0 | 2 | 1792.42 | 1810.96 | 1668.62 | 5272 | 896.21 | 905.48 | 834.31
POTOMAC EDISON / MYERSVILLE L2 | 1 | 0 | 16.94 | 32.19 | 28.04 | 77.17 | N/A | N/A | N/A
POTOMAC EDISON / MYERSVILLE TH | 1 | 0 | 24.57 | 25.65 | 88.09 | 138.31 | N/A | N/A | N/A
POTOMAC EDISON / NEW MARKET TH | 1 | 0 | 208.64 | 258.57 | 234.57 | 701.78 | N/A | N/A | N/A
POTOMAC EDISON / NEW WINDSOR | 1 | 0 | 123.58 | 153.12 | 99.57 | 376.27 | N/A | N/A | N/A
POTOMAC EDISON / OAKLAND | 1 | 0 | 138.38 | 180.25 | 114.11 | 432.74 | N/A | N/A | N/A
POTOMAC EDISON / PARISH HALL | 1 | 0 | 38.89 | 27.73 | 58.98 | 125.6 | N/A | N/A | N/A
POTOMAC EDISON / POINT OF ROCKS | 1 | 0 | 50.36 | 167.07 | 193.32 | 410.75 | N/A | N/A | N/A
POTOMAC EDISON / POOLESVILLE GC | 1 | 0 | 196.18 | 236.37 | 214.76 | 647.31 | N/A | N/A | N/A
POTOMAC EDISON / RATTLEWOOD GC | 1 | 0 | 250.89 | 265.58 | 219.28 | 735.75 | N/A | N/A | N/A
POTOMAC EDISON / ROCKY GAP DCFC | 0 | 2 | 1840.07 | 1825.49 | 1788.37 | 5453.93 | 920.03 | 912.74 | 894.18
POTOMAC EDISON / SHAFER PARK | 1 | 0 | 30.59 | 21.66 | 42.38 | 94.63 | N/A | N/A | N/A
POTOMAC EDISON / SMITHSBURG | 1 | 0 | 266.64 | 216.95 | 217.55 | 701.14 | N/A | N/A | N/A
POTOMAC EDISON / TANEYTOWN CC | 1 | 0 | 128.35 | 61.05 | 172.54 | 361.94 | N/A | N/A | N/A
POTOMAC EDISON / TASKERS CHANCE | 1 | 0 | 530.42 | 480.74 | 432.1 | 1443.26 | N/A | N/A | N/A
POTOMAC EDISON / THE GARDENS MUD | 1 | 0 | 182.69 | 256.16 | 330.61 | 769.46 | N/A | N/A | N/A
POTOMAC EDISON / WESTERNPORT | 1 | 0 | 12.98 | 12.66 | 20.72 | 46.36 | N/A | N/A | N/A

## Other Costs
Q3 2025 PE EV Charging Station Other Costs
Site Name | The cost of acquiring real property for use as an EV charging station | The cost of acquiring and installing distributed energy resources | The cost of connecting to the electric grid and any applicable connection upgrades | Total Quarterly Other Costs
N/A | N/A | N/A | N/A | 0

## Customer Complaints
Q3 2025 PE Customer Complaints
Station ID | Station Name | Address | City | State | Postal Code | Category of Complaint | Date of Complaint | Resolved? | Resolution | Date/time of Resolution
1:2357631 | POTOMAC EDISON / PARISH HALL | 16 Uhl St | Frostburg | Maryland | 21532 | Technical Issue - Station Hardware | 2025-06-18 | Y | Meter install, power cycle | September 9, 2025 7:10AM
1:5584621 | POTOMAC EDISON / HANCOCK DC 1 | 159 W Main St | Hancock | Maryland | 21750 | Technical Issue - Station Hardware | 2025-07-27 | Y | Power module replacement | 2025-08-07

## Network Disconnection Events
Q3 2025 PE EV Charging Station Network Disconnection Events
Station ID | Station Name | Reconnected At (UTC) | Disconnection Duration Minutes*
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-01 11:26 | 39.95
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-01 12:56 | 60
14219591 | POTOMAC EDISON / POOLESVILLE GC | 2025-07-02 22:50 | 40.12
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-03 02:49 | 1953.03
15296511 | POTOMAC EDISON / BIG POOL | 2025-07-03 05:11 | 49.98
11660801 | POTOMAC EDISON / SMITHSBURG | 2025-07-03 07:03 | 157.58
12639661 | POTOMAC EDISON / MT AIRY LIBRARY | 2025-07-03 07:04 | 150.03
5979231 | POTOMAC EDISON / NEW WINDSOR | 2025-07-03 07:06 | 159.97
2740071 | POTOMAC EDISON / MARC TRAIN | 2025-07-03 07:07 | 159.95
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-03 07:08 | 159.98
12793041 | POTOMAC EDISON / WESTERNPORT | 2025-07-03 07:18 | 174.2
13867381 | POTOMAC EDISON / POINT OF ROCKS | 2025-07-03 08:27 | 239.37
14008831 | POTOMAC EDISON / BRUNSWICK | 2025-07-03 08:29 | 239.98
14219591 | POTOMAC EDISON / POOLESVILLE GC | 2025-07-03 08:30 | 239.95
8172391 | POTOMAC EDISON / GRANTSVILLE | 2025-07-03 08:54 | 269.9
14133821 | POTOMAC EDISON / MARKET STREET | 2025-07-03 08:54 | 266.57
5605511 | POTOMAC EDISON / HAGERSTOWN CC | 2025-07-03 08:55 | 270.02
5552771 | POTOMAC EDISON / OAKLAND | 2025-07-03 08:58 | 269.97
5448261 | POTOMAC EDISON / ALLEGANY COLLEGE | 2025-07-03 08:59 | 270
6150701 | POTOMAC EDISON / TANEYTOWN CC | 2025-07-03 09:07 | 280.65
2742081 | POTOMAC EDISON / MIDDLETOWN | 2025-07-03 09:08 | 277.42
13952081 | POTOMAC EDISON / MAX KEHNE L2 | 2025-07-03 09:08 | 281.52
2078741 | POTOMAC EDISON / NEW MARKET TH | 2025-07-03 09:08 | 279.87
13803451 | POTOMAC EDISON / CANAL PLACE L2 | 2025-07-03 09:10 | 280.02
13762091 | POTOMAC EDISON / TASKERS CHANCE | 2025-07-03 09:13 | 291.07
14305141 | POTOMAC EDISON / RATTLEWOOD GC | 2025-07-03 09:14 | 289.98
13172721 | POTOMAC EDISON / CLEAR SPRING | 2025-07-03 09:14 | 290.03
5581881 | POTOMAC EDISON / CUMBERLAND | 2025-07-03 09:17 | 290
13383111 | POTOMAC EDISON / CATOCTIN FURNACE | 2025-07-03 09:22 | 299.97
13864761 | POTOMAC EDISON / BEAR DEN MUD | 2025-07-03 09:27 | 294.05
12403641 | POTOMAC EDISON / FRIENDSVILLEDC2 | 2025-07-03 14:25 | 614.68
15311571 | POTOMAC EDISON / MASON DIXON DC2 | 2025-07-03 16:50 | 740.68
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-05 04:24 | 2026.12
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-07 05:55 | 2785.55
5552771 | POTOMAC EDISON / OAKLAND | 2025-07-08 04:18 | 10.07
13383111 | POTOMAC EDISON / CATOCTIN FURNACE | 2025-07-08 08:09 | 267.65
13762091 | POTOMAC EDISON / TASKERS CHANCE | 2025-07-08 11:12 | 60.15
14008831 | POTOMAC EDISON / BRUNSWICK | 2025-07-08 13:09 | 40.33
5448261 | POTOMAC EDISON / ALLEGANY COLLEGE | 2025-07-08 13:59 | 39.98
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-09 07:25 | 1804.13
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-11 08:59 | 2066.1
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-11 11:24 | 49.98
14133821 | POTOMAC EDISON / MARKET STREET | 2025-07-11 19:30 | 14.87
13383111 | POTOMAC EDISON / CATOCTIN FURNACE | 2025-07-12 08:52 | 43.5
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-14 20:04 | 40.03
15296511 | POTOMAC EDISON / BIG POOL | 2025-07-15 12:50 | 60
8172391 | POTOMAC EDISON / GRANTSVILLE | 2025-07-15 12:53 | 49.97
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-15 14:44 | 90.02
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-15 19:54 | 39.95
13867381 | POTOMAC EDISON / POINT OF ROCKS | 2025-07-17 00:35 | 88.05
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-17 10:58 | 2313.42
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-20 11:30 | 4194.27
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-21 12:30 | 1483.03
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-22 13:18 | 47.17
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-24 14:04 | 2915.42
13383111 | POTOMAC EDISON / CATOCTIN FURNACE | 2025-07-26 05:12 | 40
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-27 07:10 | 40.02
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-07-28 15:05 | 1684.25
12793041 | POTOMAC EDISON / WESTERNPORT | 2025-07-28 22:39 | 39.93
5580311 | POTOMAC EDISON / DEEP CREEK DC1 | 2025-07-28 23:11 | 1081.03
5571081 | POTOMAC EDISON / DEEP CREEK L2 | 2025-07-29 18:56 | 132.33
14008831 | POTOMAC EDISON / BRUNSWICK | 2025-07-30 12:58 | 126.4
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-08-01 02:22 | 49.92
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-08-01 20:42 | 80.2
5448261 | POTOMAC EDISON / ALLEGANY COLLEGE | 2025-08-02 18:44 | 71.13
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-08-02 19:02 | 49.98
14219591 | POTOMAC EDISON / POOLESVILLE GC | 2025-08-05 18:21 | 9.92
15311571 | POTOMAC EDISON / MASON DIXON DC2 | 2025-08-10 12:14 | 730.6
2742081 | POTOMAC EDISON / MIDDLETOWN | 2025-08-10 19:50 | 10.02
13169151 | POTOMAC EDISON / MYERSVILLE L2 | 2025-08-12 21:25 | 1648.07
12931911 | POTOMAC EDISON / LONACONING | 2025-08-13 10:44 | 324.52
12931911 | POTOMAC EDISON / LONACONING | 2025-08-13 11:40 | 55.63
13669751 | POTOMAC EDISON / ROCKY GAP DC2 | 2025-08-14 02:04 | 54.97
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-08-14 04:41 | 39.98
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-08-15 15:40 | 1498.12
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-08-16 13:33 | 40
13169151 | POTOMAC EDISON / MYERSVILLE L2 | 2025-08-17 19:09 | 9.95
13931921 | POTOMAC EDISON / MONOCACY MARC | 2025-08-18 07:48 | 72.17
5571081 | POTOMAC EDISON / DEEP CREEK L2 | 2025-08-20 08:58 | 224.73
2742081 | POTOMAC EDISON / MIDDLETOWN | 2025-08-22 23:25 | 160.37
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-08-23 13:43 | 50
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-08-26 12:33 | 40.02
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-08-27 19:43 | 49.98
5552771 | POTOMAC EDISON / OAKLAND | 2025-08-27 20:57 | 9.98
5584601 | POTOMAC EDISON / HANCOCK DC 2 | 2025-08-27 23:57 | 49.98
13383111 | POTOMAC EDISON / CATOCTIN FURNACE | 2025-08-28 10:41 | 40
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-08-28 13:13 | 80.03
14008831 | POTOMAC EDISON / BRUNSWICK | 2025-09-05 12:51 | 90
15311571 | POTOMAC EDISON / MASON DIXON DC2 | 2025-09-07 06:54 | 746.58
15297511 | POTOMAC EDISON / MIDDLETOWN 2 | 2025-09-08 17:59 | 44.03
13864761 | POTOMAC EDISON / BEAR DEN MUD | 2025-09-12 15:02 | 50.03
15311571 | POTOMAC EDISON / MASON DIXON DC2 | 2025-09-13 17:35 | 40
13172721 | POTOMAC EDISON / CLEAR SPRING | 2025-09-17 06:02 | 1475.73
5580311 | POTOMAC EDISON / DEEP CREEK DC1 | 2025-09-17 14:54 | 50.03
5571081 | POTOMAC EDISON / DEEP CREEK L2 | 2025-09-17 15:43 | 9.57
5580311 | POTOMAC EDISON / DEEP CREEK DC1 | 2025-09-18 03:10 | 735.53
15311571 | POTOMAC EDISON / MASON DIXON DC2 | 2025-09-20 02:27 | 741.57
13172721 | POTOMAC EDISON / CLEAR SPRING | 2025-09-23 20:49 | 88.45
5571081 | POTOMAC EDISON / DEEP CREEK L2 | 2025-09-23 23:21 | 57.35
5571081 | POTOMAC EDISON / DEEP CREEK L2 | 2025-09-24 00:21 | 47.3
13172721 | POTOMAC EDISON / CLEAR SPRING | 2025-09-24 20:15 | 71.28
13761651 | POTOMAC EDISON / THE GARDENS MUD | 2025-09-25 17:40 | 2237.97
13172721 | POTOMAC EDISON / CLEAR SPRING | 2025-09-25 19:39 | 68.42
13172721 | POTOMAC EDISON / CLEAR SPRING | 2025-09-26 19:11 | 79.92
5581881 | POTOMAC EDISON / CUMBERLAND | 2025-09-27 10:44 | 50.02
13172721 | POTOMAC EDISON / CLEAR SPRING | 2025-09-27 11:21 | 79.12
13172721 | POTOMAC EDISON / CLEAR SPRING | 2025-09-28 11:01 | 80.92
13172721 | POTOMAC EDISON / CLEAR SPRING | 2025-09-29 10:21 | 70
15311571 | POTOMAC EDISON / MASON DIXON DC2 | 2025-09-29 15:45 | 726.73
13172721 | POTOMAC EDISON / CLEAR SPRING | 2025-09-30 09:51 | 79.08

## Definitions
Tabs | Data
Stations | A list of all EV charging stations/ports
Sessions | A list of all successful and unsuccessful charge sessions, the calculated total energy dispensed (kWh) by EV charging station port, and the peak measured power dispensed (kW) by each EV charging station port
DER Capacity | The capacity, in kW or kWh as appropriate, of each type of DER used by a charging station
Preventative Maintenance | A list of all preventative maintenance activities
Station Repairs | A list of all EV charging station repairs
Uptime | The calculated uptime percentage for all EV charging station ports
Maintenance and Repair Costs | Dates and duration of each event
Cost of electricity | Cost to operate each station for each month of the quarter by station and average per station
Other Costs | The cost of acquiring real property for use of future EV charging stations, the cost to PE of connecting the electric grid and any applicable connection upgrades, and the capacity in kW or kWh of each type (DER) used by a charging station.
Customer Complaints | A list of all customer complaints associated with station down time
Network Disconnection Events | A list of events a station disconnected from the network withing designated threshold
Stations Tab
Field name | Description | Source
Station ID | EV charging station id number | ChargePoint dashboard
Station Name | EV charging station name | ChargePoint dashboard
Port Identifier | EV charging station port identifier, Dual port L2 charging stations will have two distinct port identifiers labeled "1" and "2". Single port DCFC charging stations will have a port identifier labeled "1" | ChargePoint dashboard
Address | EV charging station location street address | ChargePoint dashboard
City | EV charging station location city | ChargePoint dashboard
State | EV charging station location state | ChargePoint dashboard
ZIP | EV charging station location ZIP | ChargePoint dashboard
Sessions Tab
Field name | Description | Source
Station ID | EV charging station id number | ChargePoint dashboard
Station Name | EV charging station name | ChargePoint dashboard
Port Identifier | EV charging station port identifier. Dual port L2 charging stations will have two distinct port identifiers labeled "1" and "2". Single port DCFC charging stations will have a port identifier labeled "1" | ChargePoint dashboard
Session ID | Unique session identifier assigned by CPMS | ChargePoint sessions API data
Start Time | Session Start Time | ChargePoint sessions API data
End Time | Session End Time | ChargePoint sessions API data
Energy Dispensed (kWh) | Total energy dispensed in the measurement period in kWh | ChargePoint sessions API data
Peak Power (kW) | Peak power dispensed during any session in the measurement period in kW which can be reported by network provider | ChargePoint sessions API data
Reason of Termination | Reason the session ended. Categories may vary by utility/network provider | ChargePoint sessions API data
Activation Method | Payment method used to initiate charging session | ChargePoint sessions report
DER Capacity Tab
Field name | Description | Source
Station ID | EV charging station id number | ChargePoint dashboard
Station Name | EV charging station name | ChargePoint dashboard
kW or kWh used 1st month | Capacity of DER used by station 1st month of quarter | Potomac Edison
kW or kWh used 2nd month | Capacity of DER used by station 2nd month of quarter | Potomac Edison
kW or kWh used 3rd month | Capacity of DER used by station 3rd month of quarter | Potomac Edison
Preventative Maintenance Tab
Field name | Description | Source
Station ID | EV charging station id number | ChargePoint dashboard
Station Name | EV charging station name | ChargePoint dashboard
Date of Maintenance | The date the Preventative Maintenance was performed | ChargerHelp
Duration of Maintenance | The duration in minutes of the Preventative Maintenance tasks. NOTE: stations are not taking offline during PM visits therefor no downtime is recorded | ChargerHelp
Issues identified | Any issues found during Preventative Maintenance tasks
Station Repairs Tab
Field name | Description | Source
Station ID | EV charging station id number | ChargePoint dashboard
Station Name | EV charging station name | ChargePoint dashboard
Port Identifier | EV charging station port identifier. Dual port L2 charging stations will have two distinct port identifiers labeled "1" and "2". Single port DCFC charging stations will have a port identifier labeled "1" | ChargePoint dashboard
Repaired time | The timestamp when the repair was completed ad reported by the technician | ChargerHelp
Issue Type | The type of the issue that was repaired. Categories may vary by utility/network provider | ChargerHelp
Repair Activity | The type of repair activity that was conducted. Categories may vary by utility/network provider | ChargerHelp
Issue DowntimeDuration Minutes | The duration in minutes, within the given measurement period, that the issue was open / causing downtime. If multiple overlapping issues affecting the same connector were observed, the sum of the Issue Duration values could exceed the total downtime. Note - If not observed in the data, this is measured from the earliest date the downtime event was reported to ChargerHelp. ChargePoint does not typically provide the timestamp when the initial complaint was received by their driver support team. | ChargerHelp
Uptime Tab
Field name | Description | Source
Station ID | EV charging station id number | ChargePoint dashboard
Station Name | EV charging station name | ChargePoint dashboard
Port Identifier | EV charging station port identifier. Dual port L2 charging stations will have two distinct port identifiers labeled "1" and "2". Single port DCFC charging stations will have a port identifier labeled "1" | ChargePoint dashboard
Uptime [MONTH] | Calculated uptime percentage per port first month of quarter; ChargePoint status API (any periods of status indicating downtime) and ChargerHelp (downtime issues not represented in charger status e.g., physical damage to cable / connector), less any downtime characterized as 'Excluded time' ({total downtime} - {exempt downtime})/{total time} | ChargePoint status API
Reason for failed uptime (below 97%) 1st month | Issue contribution to port's downtime for the measurement period first month of quarter. In case of overlapping issues, the issue identified first is allocated the downtime contribution until that issue has been resolved. | ChargerHelp
Exempt % of uptime [MONTH] | The % of minutes in the given period deemed as 'exempt' {exempt downtime} / {total time} | ChargerHelp
Uptime [MONTH] | Calculated uptime percentage per port first month of quarter; ChargePoint status API (any periods of status indicating downtime) and ChargerHelp (downtime issues not represented in charger status e.g., physical damage to cable / connector), less any downtime characterized as 'Excluded time' ({total downtime} - {exempt downtime})/{total time} | ChargePoint status API
Reason for failed uptime (below 97%) 2nd month | Issue contribution to port's downtime for the measurement period second month of quarter. In case of overlapping issues, the issue identified first is allocated the downtime contribution until that issue has been resolved. | ChargerHelp
Exempt % of uptime [MONTH] | The % of minutes in the given period deemed as 'exempt' {exempt downtime} / {total time} | ChargerHelp
Uptime [MONTH] | Calculated uptime percentage per port first month of quarter; ChargePoint status API (any periods of status indicating downtime) and ChargerHelp (downtime issues not represented in charger status e.g., physical damage to cable / connector), less any downtime characterized as 'Excluded time' ({total downtime} - {exempt downtime})/{total time} | ChargePoint status API
Reason for failed uptime (below 97%) 3rd month | Issue contribution to port's downtime for the measurement period third month of quarter. In case of overlapping issues, the issue identified first is allocated the downtime contribution until that issue has been resolved. | ChargerHelp
Exempt % of uptime [MONTH] | The % of minutes in the given period deemed as 'exempt' {exempt downtime} / {total time} | ChargerHelp
Maintenance and Repair Costs Tab
Field name | Description | Source
Station Name | EV charging station name | ChargePoint dashboard
Station Type | DCFC vs L2 | ChargePoint dashboard
Preventive Maintenance costs for [MONTH] | Total preventive maintenance costs for the first month of the quarter | Potomac Edison
Preventive Maintenance costs for [MONTH] | Total preventive maintenance costs for the second month of the quarter | Potomac Edison
Preventive Maintenance costs for [MONTH] | Total preventive maintenance costs for the third month of the quarter | Potomac Edison
Total Quarterly Preventive Maintenance Costs | Total Preventive maintenance costs for the quarter | Potomac Edison
Corrective maintenance costs for [MONTH] | Total corrective maintenance costs for the first month of the quarter | Potomac Edison
Corrective maintenance costs for [MONTH] | Total corrective maintenance costs for the second month of the quarter | Potomac Edison
Corrective maintenance costs for [MONTH] | Total corrective maintenance costs for the third month of the quarter | Potomac Edison
Total Quarterly Maintenance and Repair Costs | Total maintenance and repair costs for the quarter | Potomac Edison
Cost of Electricity Tab
Field name | Description | Source
Site/Station Name | Name of site and station | ChargePoint dashboard
Number of L2 | Total number of L2 stations at site | Potomac Edison
Number of DCFC | Total number of DCFC stations at site | Potomac Edison
Cost of Energy per Site [MONTH] | Total cost of energy, per site, for the first month of the quarter | Potomac Edison
Cost of Energy per Site [MONTH] | Total cost of energy, per site, for the second month of the quarter | Potomac Edison
Cost of Energy per Site [MONTH] | Total cost of energy, per site, for the third month of the quarter | Potomac Edison
Total Quarterly Cost of Energy per Site | Total cost of energy, per site, for the quarter | Potomac Edison
Average cost of electricity needed to operate each charging station [MONTH] | Average cost of electricity, per station, for the first month of the quarter | Potomac Edison
Average cost of electricity needed to operate each charging station [MONTH] | Average cost of electricity, per station, for the second month of the quarter | Potomac Edison
Average cost of electricity needed to operate each charging station [MONTH] | Average cost of electricity, per station, for the third month of the quarter | Potomac Edison
Average Quarterly Cost of Energy per Site | Average cost of electricity, per station, for the quarter | Potomac Edison
Other Costs Tab
Field name | Description | Source
Site name | Name of site | ChargePoint dashboard
The cost of acquiring real property for use as an EV charging station | The cost of acquiring real property for use as an EV charging station | Potomac Edison
The cost of acquiring and installing distributed energy resources | The cost of acquiring and installing distributed energy resources | Potomac Edison
The cost to the electric company of connecting the electric grid and any applicable connection upgrades | The cost to the electric company of connecting the electric grid and any applicable connection upgrades | Potomac Edison
Customer Complaints
Field name | Description | Source
Station ID | EV charging station ID number | ChargePoint dashboard
Station Name | EV charging station name | ChargePoint dashboard
Port Identifier | EV charging station port identifier. Dual port L2 charging stations will have two distinct port identifiers labeled "1" and "2". Single port DCFC charging stations will have a port identifier labeled "1" | ChargePoint dashboard
Address | EV charging station location street address | ChargePoint dashboard
City | EV charging station location city | ChargePoint dashboard
State | EV charging station location state | ChargePoint dashboard
Zip | EV charging station location Zip | ChargePoint
Category of Complaint | The type of complaint specified; Hardware, Network, or Other | ChargePoint
Date of Complaint | The date the complaint was initially received by the Network Provider call center | ChargePoint
Resolved | Has the complaint been resolved, yes or no | ChargePoint
Resolution | What the resolution was, can result in no repair ticket needed to resolve issue | ChargePoint
Date of Resolution | The date the complaint was resolved | ChargePoint
Network Disconnection Events
Field name | Description | Source
Station ID | EV charging station ID number | ChargePoint dashboard
Station Name | EV charging station name | ChargePoint dashboard
Reconnected at | The date and time the station reconnected to the network | ChargePoint status API
Disconnection Duration Minutes | The number of minutes the station was not connected to the network | ChargePoint status API

## Categories
Sessions Tab
Reason of termination | Additional Context
Cable Check error | The system detected current leakage during cable check in excess of the allowed threshold (presently 300 mA). This indicates a short circuit either in the station, the cable, or the vehicle’s inlet.
CPS Server | Ended by the ChargePoint NOS server, most commonly a Driver using the CP App to end the session.
Customer | Driver taps their ChargePoint Card or digital wallet card at the station to end the session.
Final GFCI Tripped | GFCI Trip occurs when electricity leaks to ground instead of the expected path; station software allows a few GFCI Soft Trips before a FINAL GFCI trip occurs and the session ends.
Isolation failure | The isolation monitor reported a fault due to low impedance per the 61851 standard, typically indicates a short somewhere in the system.
Outlet Unreachable | Variance in 12v pilot (communication) signal (over or under).
Plug Out at Station | Session was ended at the station screen or via the CP App.
Plug Out at Vehicle | Connector was removed from the vehicle without ending the session at the station or via the CP App; aka - driver arrives at the vehicle and unplugs.
Plug Removed While Rebooting | The station reboots (regardless of reason) but the J1772 connector(s) are not in the holster(s) or plugged into a vehicle
Power system failure | The charge session ended because all active Power Modules faulted.
ProximityLost | An emergency stop was caused by loss of proximity on the CCS1 cable.
SafetyCheck | Station detects an unsafe condition for charging; this is usually seen in paired station setups - if one station loses connectivity while a session is active, the session will end because all of the available Power Modules cannot be detected/monitored.
Self Test GFCI | The self test of the GFCI did not pass and the station will not dispense energy.
Station restart intentionally or some other outage | Station lost power during active charging session. This indicates a potential issue with the site infrastructure.
STOP button | Emergency stop button on the station is pressed.
Timeout | Session is authorized (regardless of method) but the session does not start after two minutes; usually the vehicle doesn't communicate to station after plug in OR the driver does not plug in correctly or at all.
Vehicle forced emergency stop | For CCS this usually means state B was detected during charging. For CHAdeMO it means the vehicle withdrew charge permission signal without initiating a normal shutdown via CAN.
Breakaway | Charging cable was pulled too far, detaching it from within the head.
Auth Failed | Driver does not have the proper connection/authorization to use the station as currently configured.
Relay Stuck Closed | Relay within the station head is fused closed; may be able to be cleared remotely, if it returns the head is faulted.
Activation Method | Additional Context
Contactless CC | Payment initiated by tapping credit/debit card on reader at station.
CSR | Payment inititated by ChargePoint team over phone.
Mobile App | Payment initiated through ChargePoint app.
RFID | Payment initiated by tapping ChargePoint RFID card at the station.
Tap to Charge | Payment initiated by tapping credit/debit card, mobile wallet, or smart watch on reader at station.
#N/A | Payment method not captured.
Uptime Tab
Reason for not meeting | Additional Context
Exempt | Exemptions include the following reasons outside the charging station operator’s control, provided that the charging station operator can demonstrate that the charging port would otherwise be operational: electric utility service interruptions, failure to charge or meet the EV charging customer’s expectation for power delivery due to the fault of the vehicle, preventative maintenance, vandalism, natural disasters, force majeure as determined by the Commission. Also excluded are hours outside of the identified hours of operation of the charging station.
Station Repair Tab
Issue Type | Additional Context
Network software failure | Charge Management (Network) Software outage
Site damage | Site damage that causes outage (e.g., flooding, construction)
Other | Other uncategorized failure modes
EVSE component failure | Hardware failure within the EVSE
EVSE software failure | Software (firmware) failure within the EVSE
Data connection failure | Failure of the data connection between the EVSE and the CMS (e.g., communication infrastructure or service provider outage)
Authorization / payment failure | Failure of the payment system (e.g., credit card terminal, payment processing failure)
Electrical / grid failure | Failure of the electrical supply infrastructure upstream of the EVSE
Unable to reproduce | Technician was unable to reproduce the issue (e.g., was resolved via power cycle and did not reoccur during repair visit)
Customer Complaints Tab
Category of complaint | Additional Context
Technical Issue - Station Hardware | Physical issue with the station
Technical Issue - Station Software | Firmware or software issue
N/A | Undiagnosed, investations, Non-replicable, etc.